# QC-WI-032 — Register and inspect an equipment asset

Revision D0.2 | DRAFT FOR REVIEW | Revised 2026-10-04

Effective date: not recorded. Approval/signature: not recorded. This draft does not authorize testing, release, production changes or UAT acceptance.

# 1. Purpose and scope

Create a reliable asset identity and verify physical condition.

Implementation: SOURCE-ALIGNED DRAFT

# 2. Responsibilities and review

Responsible specialists: Asset entry operator; Equipment owner

Review: Asset entry operator; Equipment owner

Approval: Authorized QMS / Document Control approver under the approved document policy; not yet established for this draft

Parent procedure: QC-SOP-020

# 3. Before you start

- Manufacturer/model/serial evidence and asset label exist.

- PERM-EQP-CREATE and authorized scope apply.

# 4. Work steps and checks

1. Read the physical label and manufacturer evidence.

2. Open /assets/equipment/new and enter supported identity fields.

3. Keep asset identity distinct from calibration certificate number.

4. Record intended method use in the controlled equipment documentation.

5. Save and reopen the asset record.

6. Compare label, model/serial and stored identity.

7. Inspect condition and identify missing suitability/manual evidence.

8. Hand the equipment record to calibration/maintenance control before controlled use.

# 5. Decisions, errors and stop conditions

- Unknown identity: do not fabricate a serial number.

- Registration does not prove fitness for use.

# 6. Records and handoff

- Asset record

- Physical identity check

- Suitability/manual source

Before handoff, reopen the saved record where the application supports it and compare the result with the source. Retain an unresolved outcome as unresolved; do not infer approval from a name, signature image, task completion or test result.

# 7. Sources and related documents

- src/modules/assets/equipment/domain/equipment.ts

Repository sources are bound to HEAD 435f9f704049dee4916223b24b96866d7fa9af2e. Resolve source IDs, file hashes, external editions and form originals in References (source metadata is inside Authoring_Sources.zip).

# 8. Required decisions before approval

- DEC-002 — Leak-test equipment manual and safety

Document Control records real reviewer outcomes and actual approval/effectivity only after the controlled process. Completed proposals for these decisions are provided in References/Policy_and_Method_Decision_Book.pdf. Required source evidence and owner adoption remain explicitly recorded there.

# 9. Current route references

- /assets

- /assets/equipment

- /assets/equipment/new

- /assets/equipment/[equipmentId]

Route placeholders identify existing records. Route coverage is documentation mapping, not proof that every role/state was accepted in a browser. Exact extracted field and permission strings are in References/route-coverage.pdf and References/source-contract-register.pdf.

## 10. Detailed operating policy and review checks

These are D0.2 proposed operating controls for adoption. Official company records remain valid physical source records; this revision does not retrospectively change their outcomes. Use the operational record named below to capture execution and exceptions.

DEC-002 — Equipment readiness and safe operation

At the instrument, read the nameplate and record asset ID, manufacturer/model, serial, controller/software version, pressure sensor ranges, fixture identity, regulator and reference device. Match the calibration certificate to that serial and range. Attach the actual operator manual and identify its sections for connection, pressurization, isolation, emergency stop and safe venting. Record pre-use checks with a known reference and fixture/background leak check under that manual.

Decision and exception check: Stop for an unreadable label, expired or mismatched calibration, damaged connection, failed reference check or an uncontrolled program. Make the system safe using the instrument procedure; retain the failed run and identify all affected work since the last acceptable check. A maintenance completion requires a documented return-to-use check.

Record: QC-REC-002 equipment readiness and run setup; equipment/calibration/maintenance records.

# Revision record

D0.2, 2026-10-04: expanded execution, exception and handoff controls; incorporated owner-confirmed official physical forms and completed technical decision proposals. Previous D0.1 sources are retained in History/D0.1 within Authoring_Sources.zip. Review and approval remain unrecorded.