# QC-WI-042 — Investigate a failed review or contradictory result

Revision D0.2 | DRAFT FOR REVIEW | Revised 2026-10-04

Effective date: not recorded. Approval/signature: not recorded. This draft does not authorize testing, release, production changes or UAT acceptance.

# 1. Purpose and scope

Resolve a review failure without editing the record to hide the concern.

Implementation: SOURCE-ALIGNED DRAFT

# 2. Responsibilities and review

Responsible specialists: Supervisor; Technical owner; Author

Review: Supervisor; Technical owner; Author

Approval: Authorized QMS / Document Control approver under the approved document policy; not yet established for this draft

Parent procedure: QC-SOP-012

# 3. Before you start

- The review reason and raw evidence are available.

- The record state and actor actions are known.

# 4. Work steps and checks

1. Read the specific review concern and identify affected points/samples.

2. Compare source revision, units, raw data, equipment and calculations.

3. Contain affected material if the official outcome is uncertain.

4. For incomplete work, the authorized reviewer returns it with a specific reason.

5. The author resumes and corrects eligible draft work while preserving original evidence.

6. For scientific disagreement, obtain a documented technical interpretation or retest authorization.

7. For a rejected lab decision lacking approved PD-38 policy, retain POLICY_SOURCE_REQUIRED; do not create an alternate reject action.

8. Resubmit only the reconciled version and repeat the required review stages.

# 5. Decisions, errors and stop conditions

- Do not infer acceptance from a majority of passing rows.

- An unresolved scientific source remains a blocker.

# 6. Records and handoff

- Review reason

- Technical investigation

- Correction/retest

- New review

Before handoff, reopen the saved record where the application supports it and compare the result with the source. Retain an unresolved outcome as unresolved; do not infer approval from a name, signature image, task completion or test result.

# 7. Sources and related documents

- src/modules/laboratory/application/reject-lab-test.ts

- Documents/DECISION-ASSUMPTION-REGISTER-026.md

Repository sources are bound to HEAD 435f9f704049dee4916223b24b96866d7fa9af2e. Resolve source IDs, file hashes, external editions and form originals in References (source metadata is inside Authoring_Sources.zip).

# 8. Required decisions before approval

- DEC-026 — Retest, invalid work and lab rejection

Document Control records real reviewer outcomes and actual approval/effectivity only after the controlled process. Completed proposals for these decisions are provided in References/Policy_and_Method_Decision_Book.pdf. Required source evidence and owner adoption remain explicitly recorded there.

## 10. Detailed operating policy and review checks

These are D0.2 proposed operating controls for adoption. Official company records remain valid physical source records; this revision does not retrospectively change their outcomes. Use the operational record named below to capture execution and exceptions.

DEC-026 — Invalid test, retest and rejection

Contain affected material, identify all runs since the last valid control and record the reason for invalidation or retest. The method owner approves sample selection, repeat count, conditions and the rule for combining or separately reporting results before retesting. Link the new run to the original and preserve the operator, time, equipment and source revisions.

Decision and exception check: A confirmed product failure proceeds to the authorized nonconformance/disposition process. A passing retest does not erase a failing result. Ambiguous results remain HOLD/further evaluation until reviewed. The current digital lab reject path remains policy-blocked where PD-38 authority is not established; no alternate route is proposed.

Record: QC-REC-019 invalidation and retest authorization; QC-SOP-012; QC-WI-020/042.

# Revision record

D0.2, 2026-10-04: expanded execution, exception and handoff controls; incorporated owner-confirmed official physical forms and completed technical decision proposals. Previous D0.1 sources are retained in History/D0.1 within Authoring_Sources.zip. Review and approval remain unrecorded.