# PROPOSED IN-PROCESS CONTROL RECORD

Sterile Amnion Hook | Proposed replacement of F-823-i5 Rev.2 | Controlled draft

CONTROLLED DRAFT • Proposed wording only. No supplied record demonstrates completed operational checks, approvals or product conformity.

This is an IN-PROCESS manufacturing control form. It is not a Final Inspection & Release report. Use only after QC/QA approval and issuance of a controlled revision.

# A. Run identification (complete or link controlled record)

| Product name / product code | Sterile Amnion Hook / ______________________________ |
| --- | --- |
| Type / size / lot | ________________________ / ________________________ / ________________________ |
| Production order / batch record ID | ________________________________________________________ |
| Machine ID / mold or cavity ID | ________________________ / ________________________ (or verified linked record ID: ____________) |
| Date / shift / operator | ________________________ / ________________________ / ________________________ |
| Governing WI and revision | WI-8-2-2-26 / ______ (confirm status of WI-8-2-2-26-1) |
| Product specification / drawing revision | TF-26-PS / ______ ; TF-26-PDBM applicability: __________________ |
| Approved sampling/control plan ID and revision | ________________________________________________________ |

# B. In-process checks — one entry per performed 2-hour check

Key: P = Pass; F = Fail; NA = not applicable only if justified; H = product held pending authorized decision. Record actual time (24 h) and detail failed characteristics separately. The source form uses “R = Read remarks”; this proposal does not reuse R as a recheck code. A failure requires disposition evidence.

| Actual date/time | Sample size (n) / plan | Tip formed / undamaged | No bend / visible damage | No contamination / black spot | No flash / sink / gating / short shot | Surface finish / other irregularity | Dimension worksheet ID + P/F | Result P/F/H | Inspector ID |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ____________ | ____________ | P / F | P / F | P / F | P / F | P / F | ____________ | P / F / H | ____________ |
| ____________ | ____________ | P / F | P / F | P / F | P / F | P / F | ____________ | P / F / H | ____________ |
| ____________ | ____________ | P / F | P / F | P / F | P / F | P / F | ____________ | P / F / H | ____________ |
| ____________ | ____________ | P / F | P / F | P / F | P / F | P / F | ____________ | P / F / H | ____________ |
| ____________ | ____________ | P / F | P / F | P / F | P / F | P / F | ____________ | P / F / H | ____________ |
| ____________ | ____________ | P / F | P / F | P / F | P / F | P / F | ____________ | P / F / H | ____________ |
| ____________ | ____________ | P / F | P / F | P / F | P / F | P / F | ____________ | P / F / H | ____________ |

Frequency check: WI specifies inspection every 2 hours during ongoing production. Previous check: __________  Elapsed time: __________  Missed check / deviation ref (if any): __________

# C. Dimensional measurement worksheet — attach if extended

Fill the requirements from the approved TF-26-PS/drawing and plan. No technical value in this draft is a product acceptance limit. Use an additional controlled sheet for each inspection event if required.

| Check time / sample ID | Dimension / feature | Spec / drawing rev | Approved range / tolerance | Unit | Actual result | Instrument ID / method | Pass / Fail |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ________ | ________ | ________ | ________ | ____ | ________ | ________ | P / F |
| ________ | ________ | ________ | ________ | ____ | ________ | ________ | P / F |
| ________ | ________ | ________ | ________ | ____ | ________ | ________ | P / F |
| ________ | ________ | ________ | ________ | ____ | ________ | ________ | P / F |
| ________ | ________ | ________ | ________ | ____ | ________ | ________ | P / F |

# D. Method and sampling control

| Check basis | Periodic process sample / lot-based AQL sample (circle applicable) |
| --- | --- |
| Approved plan ID/rev; inspection level / AQL if applicable | ________________________________________________________ |
| Lot/run size / sample size n / defect count | __________________ / __________________ / __________________ |
| Ac / Re (only where approved AQL applies) | __________________ / __________________ N/A reason: __________________ |
| Instrument type / unique ID / calibration or verification record | ________________________________________________________ |
| Functional/strength verification route | Approved record ID: __________ / not required by approved control plan / OPEN technical decision |

# E. Failure, hold and action record

| Affected component / lot / time window | ________________________________________________________ |
| --- | --- |
| Defect, count and suspect quantity / scope | ________________________________________________________ |
| Hold/segregation location and tag/NCR reference | ________________________________________________________ |
| QC / Production notification and time | ________________________________________________________ |
| Authorized disposition reference and status | ________________________________________________________ |
| Required re-inspection and result record | ________________________________________________________ |

# F. QC sign-off and technical decisions

| Performed / checked by QC | Name/ID: __________________ Signature: __________________ Date/time: __________ |
| --- | --- |
| Reviewed by QC Supervisor / QCM | Name/ID: __________________ Signature: __________________ Date/time: __________ |
| Exception / overdue check review | Reference: ________________________________________________________ |
| Technical inputs / approved acceptance source | Tip functional criterion: ______ TF-26-PS rev: ______ sampling plan rev: ______ |