# REVISED IN-PROCESS CONTROL | OXYGEN TUBE

Source: F-823-138-1 Rev 3, 29.09.2026 | Proposed editable replacement, not yet approved

EVIDENCE-BASED REASSESSMENT | IN-PROCESS, NOT FINAL INSPECTION | ISO NOT ASSESSED

| Field | Verified / current assessment |
| --- | --- |
| Applicable process | Oxygen Tube and Universal Connector: preserve the original eight checks |
| Parent WI | WI-8-2-2-33-1 Rev 07 (as cited by source form); source WI p.3 §§7.4, 8.1–8.1.1 |
| Specifications | TF-33-PS / TF-33-PDBM cited on form; current approved revisions + characteristic limits pending verification |
| Requirement | Mask tubing check every two hours while applicable production is running, source WI p.3 §8.1.1 |
| Important | This is a proposed record; no live values, numbers, lot outcomes or approvals were provided. |

# A. Production and controlled references

| Date / shift | Work order | Lot / batch | Tube size/variant | Line / machine | QC inspector | WI revision | Spec IDs / revisions |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ___________ | ___________ | ___________ | ___________ | ___________ | ___________ | ___________ | ___________ |

# B. Original eight in-process checks (all retained)

| Row | In-process characteristic | Source baseline / specified units | Linked approved basis / open input |
| --- | --- | --- | --- |
| 01 | Clarity / appearance | Clear; good appearance; free from irregularities | Visual acceptance guide pending verification |
| 02 | Tube status | Flexible, kink resistant, smooth inner channel, no black spots; source form cites PVC and good winding | Approved flexibility/kink criteria/method pending verification |
| 03 | Tube length | Per approved specification (cm) | Numerical limits and revision pending verification |
| 04 | Tube dimension ID/OD | Per approved specification (mm) | Numerical limits and revision pending verification |
| 05 | Universal connector | No flashing, black spots or damage; hole/fit per source; fit with tube and nebulizer jar | Visual/fit acceptance reference pending verification |
| 06 | Connector dimension ID/OD | Per approved specification (mm) | Numerical limits and revision pending verification |
| 07 | Connector length | Per approved specification (mm) | Numerical limits and revision pending verification |
| 08 | Gluing status, tube/connector | Proper insertion, good secure joint/no pullout, no excess glue marks | Approved retention criteria/method pending verification |

Source legend: ✓ acceptable, X unacceptable, R see remarks, N/A not applicable. Proposed new status: PENDING = cannot judge due to missing verified acceptance input. Exact 2-hour check schedule retained; additional event/date fields below address traceability. Numerical measurements must appear here or in a linked approved worksheet.

# C. Scheduled two-hour review grid — record actual dates and initials

| Entry | 07:00 | 09:00 | 11:00 | 13:00 | 15:00 | 17:00 | 19:00 | 21:00 | 23:00 | 01:00 | 03:00 | 05:00 | 07:00 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Actual date | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ |
| QC initials | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ |
| Result summary | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ | ___ |

Schedule alignment and shift rollover: follow the approved company time schedule. Write actual check time if different; any missed interval is documented in section F. A completed symbol grid alone does not replace numeric records where measurements are required.

# D. Actual dimensional measurement log (per inspected sample)

| Date / time | Sample ID | Tube L cm | Tube ID mm | Tube OD mm | Conn. ID mm | Conn. OD mm | Conn. L mm | Spec/rev & limits ref | Equipment ID | Status | Inspector |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ |
| _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ |
| _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ |
| _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ |
| _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ |
| _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ | _______ |

Approved limits / visual reference ID: ______________________________  Verified current Rev: __________  Sampling method, level, AQL and sample size (source-approved only): ______________________________

# E. Appearance, flexibility and glued-joint event log

| Date & time | Sample/count | Row 01 appearance | Row 02 status / kink | Row 05 connector | Row 08 bond | Method / criteria reference | Observed actual result / defect | Status & inspector |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ______ | ______ | ______ | ______ | ______ | ______ | ______ | ______ | ______ |
| ______ | ______ | ______ | ______ | ______ | ______ | ______ | ______ | ______ |
| ______ | ______ | ______ | ______ | ______ | ______ | ______ | ______ | ______ |
| ______ | ______ | ______ | ______ | ______ | ______ | ______ | ______ | ______ |
| ______ | ______ | ______ | ______ | ______ | ______ | ______ | ______ | ______ |

# F. Missed/failing check and disposition

| Event time / ID | Feature / issue | Lot and affected interval | NCR / hold ID | Authorized decision / action | Recheck result / link | Review date / by |
| --- | --- | --- | --- | --- | --- | --- |
| ______ | ______ | ______ | ______ | ______ | ______ | ______ |
| ______ | ______ | ______ | ______ | ______ | ______ | ______ |
| ______ | ______ | ______ | ______ | ______ | ______ | ______ |
| ______ | ______ | ______ | ______ | ______ | ______ | ______ |

# G. Instrument control and review

| Equipment type | Unique equipment ID | Calibration / verification status | Inspection linked ID | Checked by/date |
| --- | --- | --- | --- | --- |
| __________ | __________ | __________ | __________ | __________ |
| __________ | __________ | __________ | __________ | __________ |
| __________ | __________ | __________ | __________ | __________ |

Shift 1 QC sign/date: ______________________   Shift 2 QC sign/date: ______________________   QC Supervisor review/date: ______________________

DRAFT CONTROL: This revised form is editable but NOT APPROVED; it does not authorize release or replace the existing controlled form unless technically reviewed and issued under established company procedures.