# F-823-i128 | Temperature Probe (Skin) – In-Process Control

PROPOSED RECONSTRUCTION • uncontrolled / not effective • source header claims Rev.2; worksheet tab Rev.1 (GAP-013)

| Identification | Record field (complete at time of use) | Identification | Record field |
| --- | --- | --- | --- |
| Document / Effective Rev | F-823-i128 / OPEN PENDING DOC CONTROL | Product / Variant | ___________________________ |
| Spec & Drawing Ref | TF-M21-PS & variant drawing: __________ | Product Code / Type | ___________________________ |
| Manufacturing Lot | ___________________________ | Line / Work Station | ___________________________ |
| Date / Shift | ___________________________ | Operator / QC Inspector | ___________________________ |
| Incoming Lot / COA Ref | ___________________________ | Approved Plan & Rev | ___________________________ |

# A. Source-based in-process acceptance characteristics

| # / Gap | Characteristic | Requirement / applicable basis | Required Actual Evidence | Decision |
| --- | --- | --- | --- | --- |
| 01 / 014 | Clarity / appearance | Clean, clear, no visible defects; TF §7.1–7.2 and approved defect standard | Observation + defect code if failed | P / F / Pending |
| 02 / 014 | Surface irregularities | No applicable cracks, irregularities, rust/black spots/sharp edges | Defect observations / sample ID | P / F / Pending |
| 03 / 007/008 | Wire condition/assembly | Intact flexible cable, no cuts/damage; secure visible joints | Observation; approved variant reference | P / F / Pending |
| 04 / 003 | Cable length | VARIANT-SPECIFIC limit; TF §7.3 says 150 ± 1 cm for a compatible selected variant only | Actual length cm + equipment & sample ID | P / F / Pending |
| 05 / 002 | Sensor / functional response | Defined function/accuracy method and limit: OPEN TECHNICAL INPUT REQUIRED | Reference value, actual sensor reading, deviation, unit | P / F / Pending |
| 06 / 007/008 | Connector / secure fit | Matches approved connector drawing and defined visible fit criteria | Observation / drawing ref | P / F / Pending |
| 07 / 007 | Connector pins | No bends, damage/rust; correct approved variant pin count | Pin count, observation | P / F / Pending |

Use checkpoint detail log below for each two-hour check; mark P only after actual evidence and applicable controlled criteria are available. A qualitative tick alone is not proof of a required numeric test.

# B. Shift checkpoint log — repeat rows as required

| Checkpoint ID | Scheduled / actual date & time | Production qty / Sample qty | Sample IDs | Method & Equipment IDs | Overall result | NCR / Evidence Ref |
| --- | --- | --- | --- | --- | --- | --- |
| CP-01 | ____________________ | _________ / _________ | ________________ | _________________ | P / F / Pending | ________________ |
| CP-02 | ____________________ | _________ / _________ | ________________ | _________________ | P / F / Pending | ________________ |
| CP-03 | ____________________ | _________ / _________ | ________________ | _________________ | P / F / Pending | ________________ |
| CP-04 | ____________________ | _________ / _________ | ________________ | _________________ | P / F / Pending | ________________ |
| CP-05 | ____________________ | _________ / _________ | ________________ | _________________ | P / F / Pending | ________________ |
| CP-06 | ____________________ | _________ / _________ | ________________ | _________________ | P / F / Pending | ________________ |
| CP-07 | ____________________ | _________ / _________ | ________________ | _________________ | P / F / Pending | ________________ |
| CP-08 | ____________________ | _________ / _________ | ________________ | _________________ | P / F / Pending | ________________ |

Routine frequency: every two hours in source WI §§7–8. The approved work plan controls start/end of shifts, sample quantity, AQL use and missed-check rules. Never pre-populate Pass results.

# C. Measured results / sample evidence continuation

| CP ID | Sample ID | Control / Characteristic | Approved Criterion / Spec Ref | Measured / Observed Actual | Unit | Instrument / Test Method | Result | Evidence / NCR |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ____ | ____ | Cable Length | Variant-specific ______ | _______ | cm | ______ | P/F/Pend | _____ |
| ____ | ____ | Sensor Reading | Tolerance OPEN _____ | Ref ____ Probe ____ Δ ____ | _____ | ______ | P/F/Pend | _____ |
| ____ | ____ | Assembly / Other | Controlled standard ______ | _______ | N/A | ______ | P/F/Pend | _____ |
| ____ | ____ | ____ | ____ | ____ | ____ | ____ | ____ | ____ |
| ____ | ____ | ____ | ____ | ____ | ____ | ____ | ____ | ____ |
| ____ | ____ | ____ | ____ | ____ | ____ | ____ | ____ | ____ |
| ____ | ____ | ____ | ____ | ____ | ____ | ____ | ____ | ____ |
| ____ | ____ | ____ | ____ | ____ | ____ | ____ | ____ | ____ |
| ____ | ____ | ____ | ____ | ____ | ____ | ____ | ____ | ____ |
| ____ | ____ | ____ | ____ | ____ | ____ | ____ | ____ | ____ |
| ____ | ____ | ____ | ____ | ____ | ____ | ____ | ____ | ____ |

# D. Equipment and alternate controlled evidence

| Evidence/control | Recording reference / status |
| --- | --- |
| Instrument ID, calibration/verification | ID __________ Valid to __________ Ref __________ Status __________ |
| Approved test method & version | Method __________ Revision __________ Tolerance source __________ |
| Packaging in-process / label control | F-823-i4 or effective successor _________ Lot match _________ |
| Final inspection / release | F-823-F247 or effective successor _________ Lot match _________ |
| Product accuracy / compatibility qualification | Qualification / approved technical report ID _________ Pending if absent |
| Incoming material receipt / COA | Receipt / Supplier Lot _________ COA Ref _________ Released? _________ |
| Approved shelf-life evidence | Validation / documented rationale ID _________ Variant scope _________ |

# E. Failure, hold and QC review

| Control step | Documented response |
| --- | --- |
| Failure / missing result | CP ID ___ Failed characteristic ___ Time / Sample ___ |
| Containment / NCR | Affected production interval ___ Qty ___ Hold ID ___ NCR ___ |
| Disposition and recheck | QA/QCM authorization Ref ___ Recheck record ___ Status ___ |
| QC performed by | Name / employee ID _________ Date/time _________ |
| QC supervisor reviewed by | Name / employee ID _________ Date/time _________ |
| QCM/QAM final approval (if applicable) | Effective approval matrix Ref ___ Approved by ___ Date ___ |

Form is a non-effective DRAFT. Existing original F-823-i128 is unchanged. No test results or approvals have been assumed.